29th March

The agency said measurements taken at a monitoring station in Oxfordshire on Monday had recorded trace levels of iodine 131 at 300 micro-becquerels per cubic metre.

The statement added: "This followed reports from HPA's monitoring stations in Glasgow and Oxfordshire of measurements averaged over the last nine days which found 11 micro-becquerels per cubic metre.

"The dose received from inhaling air with these measured levels of iodine 131 is miniscule and would be very much less than the annual background radiation dose.

28march

On 27 March, deposition of iodine-131 was detected in 9 prefectures, and deposition of cesium-137 in 4 prefectures. The highest values were observed in the prefecture of Tochigi with 320 becquerel per square metre for iodine-131 and 73 becquerel per square metre for caesium-137. In the other prefectures where deposition of iodine-131 was reported, on 27 March, the range was from 6.4 to 110 becquerel per square metre. For caesium-137, the range was from 16 to 61 becquerel per square metre. In the Shinjyuku district of Tokyo, the daily deposition of iodine-131 on 27 March was 100 becquerel per square metre, while for caesium-137 it was 36 becquerel per square metre. No significant changes were reported in the 45 prefectures in gamma dose rates compared to yesterday.

Two IAEA teams are currently monitoring radiation levels and radioactivity in the environment in Japan. One team made gamma dose-rate measurements in the Tokyo and Chiba region at 3 locations. Gamma-dose rates measured ranged from 0.08 to 0.13 microsievert per hour, which is within or slightly above the background. The second team made additional measurements at distances of 30 to 46 km from the Fukushima nuclear power plant. At these locations, the dose rates ranged from 0.5 to 3 microsievert per hour. At the same locations, results of beta-gamma contamination measurements ranged from 0.02 to 0.3 Megabecquerel per square metre.

Samples collected on 26 March 330 metres east of the discharge point showed increasing concentrations. There were found to be 74,000 becquerel per litre for iodine-131, 12,000 becquerel per litre for caesium-137, and 12,000 becquerel per litre for caesium-134.

27th

Radiation measurements in the containment vessels and suppression chambers of Units 1, 2 and 3 continued to decrease. White “smoke” continued to be emitted from Units 1 to 4.

In 28 of the 45 prefectures for which data are available, no deposition of radionuclides was detected in the period 18 to 25 March. In seven of the other 17 prefectures, the estimated daily deposition was less than 500 becquerel per square metre for iodine-131 and less that 100 becquerel per square metre for caesium-137.

On 26 March, the highest values were observed in the prefecture of Yamagata: 7500 becquerel per square metre for iodine-131 and 1200 becquerel per square metre for caesium-137. In the other prefectures where deposition of iodine-131 was reported, the daily range was from 28 to 860 becquerel per square metre. For caesium-137, the range was from 2.5 to 86 becquerel per square metre.

In the Shinjyuku district of Tokyo, the daily deposition of iodine-131 on 27 March was 220 becquerel per square metre, while for caesium-137 it was 12 becquerel per square metre.

No significant changes were reported in the 45 prefectures in gamma dose rates compared to yesterday. In general, gamma–dose rates tend to decrease due to the decay of short-lived radionuclides such as iodine-131.

Two IAEA teams are currently monitoring in Japan. One team made gamma dose-rate measurements in the Tokyo region at 8 locations. Gamma-dose rates measured ranged from 0.08 to 0.15 microsievert per hour, which is within or slightly above the normal background. The second team made additional measurements at distances of 30 to 41 km from the Fukushima nuclear power plant. At these locations, the dose rates ranged from 0.9 to 17 microsievert per hour. At the same locations, results of beta-gamma contamination measurements ranged from 0.03 to 3.1 Megabecquerel per square metre.

As far as food contamination is concerned, samples taken from 23 to 25 March in five prefectures showed iodine-131 in unprocessed raw milk, but the levels were far below the regulation values set by the Japanese authorities. Caesium-137 was also detected in samples of unprocessed raw milk taken on 23 March in Chiba prefecture, but at levels far below the Japanese regulation values. Caesium-137 was not detected in any of the samples taken from 24-25 March in the other four prefectures.

Based on samples taken on 22 and 24-25 March, three prefectures (Chiba, Ibaraki and Tochigi) reported iodine-131 in celery, parsley, spinach, and other leafy vegetables above the regulation values set by the Japanese authorities. Caesium-137 was also detected above the regulation values in one sample of spinach taken on 24 March in Tochigi prefecture, but in the remaining two prefectures, the results were below regulation values.

26th

Deposition of radioactivity is monitored daily by Japanese authorities in all 47 prefectures. From 23 March to 24 March, additional deposition has been detected in 7 of the 47 prefectures. Considerable variations are observed, the deposition at this day ranged from 42 to 16,000 Becquerel per square metre for iodine-131; the highest value determined for caesium-137 was 210 Becquerel per square metre. For the Shinjuku district of Tokyo, the deposition of iodine-131 on this day increased by 13,000 Becquerel per square metre, and the caesium-137 deposition by 160 Becquerel per square metre.

25th

Regarding developments at the Fukushima Daiichi nuclear power plant, 'white smoke' was reported at Units 1, 2 and 4 from 21:20 UTC on 24 March. Sea water injection to Units 1, 2, 3 and 4 continues as of 23:00 UTC 24 March. The IAEA is seeking further information on the latest status of all Units and spent nuclear fuel at Fukushima Daiichi NPP.

24th march

The IAEA radiation monitoring team made additional measurements at distances from 21 to 73 km from the Fukushima nuclear power plant. At distances between 34 and 73 km, in a westerly direction from the site, the dose rate ranged from 0.6 to 6.9 microsievert per hour. At the same locations, results of beta-gamma contamination measurements ranged from 0.04 to 0.4 Megabecquerel per square metre.

At distances between 30 and 32 kilometers from the Fukushima Nuclear Power Plant, in a north westerly direction from the site, dose rates between 16 and 59 microsievert per hour were measured. At these locations, the results of beta-gamma contamination measurements ranged from 3.8 to 4.9 Megabecquerel per square metre. At a location of 21 km from the Fukushima site, where a dose rate of 115 microsieverts per hour was measured, the beta-gamma contamination level could not be determined.

The second IAEA monitoring team has started their work today in Fukushima and Tokyo. Measurements will be taken to determine more precisely the actual radionuclides that have been deposited.

On-site monitoring by the Japanese authorities at the Daiichi nuclear power plant produced new data on 23 March for radionuclide concentrations in the air from samples collected between 19 and 23 March. Of the six radionuclides monitored, only iodine-131 was found to be in excess of the limits set by Japan. Overall, the dose rates reported on the site have decreased from 1930 to 210 microsievert per hour between 21 to 23 March.

There continues to be considerable daily variation in the deposition of iodine-131 and caesium-137 reported in 10 Prefectures. Recent rainfall and the resulting wet deposition may help explain the increased deposition in Tokyo. As measured by the Japanese authorities for the Shinjuku district of Tokyo, iodine-131 deposition increased by 36 000 Becquerel per square metre from 22 to 23 March, and caesium-137 deposition by 340 Becquerel per square metre.

23 March

Brief Update on State of Fukushima Daiichi Reactors

Japanese authorities today announced a number of developments at Fukushima Daiichi nuclear power plant, where reactor cooling systems were disabled following the massive earthquake and tsunami on 11 March.

At Units 1, 2, 3 and 4, workers have advanced the restoration of off-site electricity, and the lights are working in Unit 3's main control room.

Black smoke was seen emerging from the Unit 3 reactor building, spurring the temporary evacuation of workers from Units 3 and 4. The emission of smoke has now decreased significantly.

The IAEA radiation monitoring team took additional measurements at distances from 30 to 73 km from the Fukushima nuclear power plant. Results from gamma dose-rate measurements in air ranged from 0.2 to 6.9 microsievert per hour. The beta-gamma contamination measurements ranged from 0.02 to 0.6 Megabecquerel per square metre.

22nd march

The IAEA took measurements at additional locations between 35 to 68 km from the Fukushima plant. The dose-rate results ranged from 0.8 to 9.1 microsieverts per hour. The beta-gamma contamination measurements ranged from 0.08 to 0.9 MBq per square metre. More precise interpretation of the results will be possible based on measurements to be made of the composition of the radioactive material that has been released.

In the coming days the IAEA will have two monitoring teams in Japan. One team will be in the Fukushima area and a separate team will undertake monitoring in Tokyo and the surrounding area.

The Agency continues to receive data confirming high levels of radioactivity in food, notably spinach, in samples taken from 37 locations in the vicinity of five cities south of the Fukishima site. This indicates that in four Prefectures some food products are above permissible levels. High levels of both Iodine-131 and Caesium-137 have been measured by the Japanese authorities in spinach and some other fresh vegetables, together with Iodine-131 in milk.

21st march

White smoke was reported seen emanating from Unit 2 on 21 March at 9:22 UTC. Grayish smoke was reported seen emanating from unit 3 at 6:55 on 21 March, and this was reported to have "died down" two hours later. All workers at Units 1 through 4 evacuated after the smoke at Unit 3 was seen. The IAEA is seeking further information at this time on the status of workers at the site.

As I reported yesterday, the IAEA radiation monitoring team took measurements at distances from 56 to 200 km from the Fukushima nuclear power plant. At two locations in Fukushima Prefecture gamma dose rate and beta-gamma contamination measurements have been repeated. These measurements showed high beta-gamma contamination levels. Measurements by the IAEA and the Japanese authorities were taken at the same time and locations. The Japanese and independent IAEA measurements gave comparable results.

Measurement of gamma dose rate and beta-gamma contamination were taken on 20 March at more locations. The dose-rate results ranged from 2-160 microsieverts per hour, which compares to a typical natural background level of around 0.1 microsieverts per hour. High levels of beta-gamma contamination have been measured between 16-58 km from the plant. Available results show contamination ranging from 0.2-0.9 MBq per square metre.

Further measurements are needed to assess possible contamination beyond the area currently monitored - both closer to the facility and further way. We have no contamination measurements showing that that contamination levels are high at greater distances than 58 km from the plant, but this cannot be excluded.

I have no further information available regarding the measurement of alpha radiation. As I reported yesterday, from the measurements taken within the evacuation zone (20 km), no significant alpha radiation had been detected at that time.

In the coming days, the IAEA monitoring team will continue to take measurements in the Fukushima prefecture. We are seeking data from Japan on radioactivity contamination measurements for the rest of Japan.

Some results on the monitoring of foodstuffs have been made available by Japan to the IAEA and FAO. Results provided recently by the Japanese authorities range up to 55 000 Bq per kg of I-131 in samples of Spinach taken in in the Ibaraki Prefecture. These high values are significantly above Japanese limits for restricting food consumption (i.e. 2 000 Bq/kg). I understand that the Japanese Government is actively considering relevant precautionary measures and has instructed four Prefectures (Ibaraki, Totigi, Gunma, Fukushima) to refrain, for the time being, from distributing two types of vegetables (spinach and kakina) from these Prefectures and milk from Fukshima.

20th March

Radiation levels in major Japanese cities have not changed significantly since yesterday and remain below those which are dangerous to human health.

The IAEA radiation monitoring team took additional measurements yesterday between Tokyo and locations up to 150 km from the Fukushima site. Dose rates were typically a few microsieverts per hour compared to a typical background level of around 0.1 microsieverts per hour.

From the measurements taken within the exclusion zone, no significant alpha radiation has been detected so far.

19th

Radiation levels in major Japanese cities have not changed significantly since yesterday.

The IAEA radiation monitoring team took measurements at seven different locations in Tokyo and in the Kanagawa and Chiba Prefectures. Dose rates were well below those which are dangerous to human health.

The monitoring team are now on their way to Aizu Wakamatsu City, which is 97 km west of the Fukushima nuclear power plant. They have just provided initial measurements from three additional locations.

Measurements made by Japan in a number of locations have shown the presence of radionuclides - ie isotopes such as Iodine-131 and Caesium-137 - on the ground.

18th March

As mentioned yesterday, regular dose rate information is now being received from 47 Japanese cities.

Dose rates in Tokyo and other cities remain far from levels which would require action - in other words they are not dangerous to human health.

First measurements in Tokyo by the Agency's newly arrived radiation monitoring team today showed no indication of Iodine-131 or Caesium-137. A second sampling will be carried out overnight.

### Fukushima Nuclear Accident Update (18 March 2011, 12:25 UTC)

Japanese authorities have informed the IAEA that, prior to the earthquake of 11 March, the entire fuel core of reactor Unit 4 of the Fukushima Daiichi nuclear power plant had been unloaded from the reactor and placed in the spent fuel pond located in the reactor's building

17th March

We are now receiving dose rate information from 47 Japanese cities regularly. This is a positive development. In Tokyo, there has been no significant change in radiation levels since yesterday. They remain well below levels which are dangerous to human health.

As far as on-site radiation levels at the Fukushima Daiichi and Daini nuclear power plants are concerned, we have received no new information since the last report.

In some locations at around 30 km from the Fukushima plant, the dose rates rose significantly in the last 24 hours (in one location from 80 to 170 microsievert per hour and in another from 26 to 95 microsievert per hour). But this was not the case at all locations at this distance from the plants.

Dose rates to the north-west of the nuclear power plants, were observed in the range 3 to 170 microsievert per hour, with the higher levels observed around 30 km from the plant.

Dose rates in other directions are in the 1 to 5 microsievert per hour range.

### Fukushima Nuclear Accident Update (16 March 2011, 14:55 UTC)

Japanese authorities have reported concerns about the condition of the spent nuclear fuel pool at Fukushima Daiichi Unit 3 and Unit 4. Japanese Defense Minister Toshimi Kitazawa announced Wednesday that Special Defence Forces helicopters planned to drop water onto Unit 3, and officials are also preparing to spray water into Unit 4 from ground positions, and possibly later into Unit 3. Some debris on the ground from the 14 March explosion at Unit 3 may need to be removed before the spraying can begin

=============================================================

15th March

The Japanese authorities have informed the IAEA that the following radiation dose rates have been observed on site at the main gate of the Fukushima Daiichi Nuclear Power Plant.

At 00:00 UTC on 15 March a dose rate of 11.9 millisieverts (mSv) per hour was observed. Six hours later, at 06:00 UTC on 15 March a dose rate of 0.6 millisieverts (mSv) per hour was observed.

These observations indicate that the level of radioactivity has been decreasing at the site.

As reported earlier, a 400 millisieverts (mSv) per hour radiation dose observed at Fukushima Daiichi occurred between Units 3 and 4. This is a high dose-level value, but it is a local value at a single location and at a certain point in time. The IAEA continues to confirm the evolution and value of this dose rate. It should be noted that because of this detected value, non-indispensible staff was evacuated from the plant, in line with the Emergency Response Plan, and that the population around the plant is already evacuated.

### Fukushima Nuclear Accident Update (15 March 2011, 05:15 UTC)

Japanese authorities informed the IAEA that there has been an explosion at the Unit 2 reactor at the Fukushima Daiichi plant. The explosion occurred at around 06:20 on 15 March local Japan time.

Japanese authorities also today informed the IAEA at 04:50 CET that the spent fuel storage pond at the Unit 4 reactor of the Fukushima Daiichi nuclear power plant is on fire and radioactivity is being released directly into the atmosphere.

Dose rates of up to 400 millisievert per hour have been reported at the site. The Japanese authorities are saying that there is a possibility that the fire was caused by a hydrogen explosion.

Populations of Evacuated Towns Near Affected Nuclear Power Plants

| Hirono-cho | 5 387 |
| --- | --- |
| Naraha-cho | 7 851 |
| Tomioka-cho | 15 786 |
| Okuma-cho | 11 186 |
| Futaba-cho | 6 936 |
| Namie-cho | 20 695 |
| Tamura-shi | 41 428 |
| Minamisouma-shi | 70 975 |
| Kawauchi-mura | 2 944 |
| Kuzuo-mura | 1 482 |
| Total | 184 670 |

### Fukushima Nuclear Accident Update (14 March 2011, 04:15 UTC)

Based on information provided by Japanese authorities, the IAEA can confirm the following information about the status of Units 1, 2, 3 and 4 at Fukushima Daini nuclear power plant.

All four Units automatically shut down on 11 March. All Units have off-site power and water levels in all Units are stable. Though preparations have been made to do so, there has been no venting to control pressure at any of the plant's Units.

At Unit 1, plant operators were able to restore a residual heat remover system, which is now being used to cool the reactor. Work is in progress to achieve a cold shutdown of the reactor.

Workers at Units 2 and 4 are working to restore residual heat removal systems.

Unit 3 is in a safe, cold shutdown.

Radiation dose rate measurements observed at four locations around the plant's perimeter over a 16-hour period on 13 March were all normal.

### Fukushima Nuclear Accident Update (14 March, 2011, 03:00 UTC)

Japan's Nuclear and Industrial Safety Agency (NISA) has informed the IAEA that there has been an explosion at the Unit 3 reactor at the Fukushima Daiichi nuclear plant.

The explosion occurred at 11:01 am local Japan time.

The IAEA is seeking further information on this development.

### Fukushima Nuclear Accident Update (13 March 2011, 12:35 UTC)

Japanese authorities have informed the IAEA's Incident and Emergency Centre (IEC) that venting of the containment of reactor Unit 3 of the Fukushima Daiichi nuclear power plant started at 9:20 am local Japan time of 13 March through a controlled release of vapour. The operation is intended to lower pressure inside the reactor containment.

### Fukushima Nuclear Accident Update (12 March 2011, 20:10 UTC)

Japanese authorities have informed the IAEA that the explosion at Unit 1 reactor at the Fukushima Daiichi plant occurred outside the primary containment vessel (PCV), not inside. The plant operator, Tokyo Electric Power Company (TEPCO), has confirmed that the integrity of the primary containment vessel remains intact.

As a countermeasure to limit damage to the reactor core, TEPCO proposed that sea water mixed with boron be injected into the primary containment vessel. This measure was approved by Japan's Nuclear and Industrial Safety Agency (NISA) and the injection procedure began at 20:20 local Japan time.

### Fukushima Nuclear Accident Update (12 March 2011, 12:40 UTC)

Japan's Nuclear and Industrial Safety Agency (NISA) has informed the IAEA's Incident and Emergency Centre (IEC) that there has been an explosion at the Unit 1 reactor at the Fukushima Daiichi plant, and that they are assessing the condition of the reactor core.

The explosion was reported to NISA by the plant operator, Tokyo Electric Power Company (TEPCO), at 0730 CET. Further details were not immediately available.